## Slide 1: Comparative Analysis
By: Kshitiz Omar | kshitizomar@gmail.com | 8009879217

## Slide 2: Problem Statement:
A Quick Service Restaurant has 4 walk-in refrigeration units. There is an energy meter installed at power supply of each of the 4 refrigeration units. There is also 1 temperature sensor installed inside each of these. Attached is data for power (kW) and temperature (degree Celsius) for 4 energy meters and 4 temperature sensors for 10 days. Do a comparative analysis of following parameters and prepare a presentation.

## Slide 3: Statistics of the Data:
~Std: Standard deviation

## Slide 4: Question 1: Duty Cycle

## Slide 5
 | Day | Fridge 1(%) | Fridge 2(%) | Fridge 3(%) | Fridge 4(%)
0 | Day 1 | 98.68 | 97.29 | 91.59 | 100
1 | Day 2 | 95.48 | 96.041 | 80 | 98.47
2 | Day 3 | 94.79 | 91.45 | 70.27 | 98.472
3 | Day 4 | 91.52 | 91.18 | 65.76 | 97.77
4 | Day 5 | 89.93 | 89.09 | 57.91 | 97.77
5 | Day 6 | 87.84 | 87.56 | 49.375 | 97.77
6 | Day 7 | 85.27 | 86.875 | 37.569 | 97.77
7 | Day 8 | 83.75 | 82.91 | 27.01 | 97.77
8 | Day 9 | 78.33 | 81.94 | 19.98 | 97.36
9 | Day 10 | 77.7 | 79.44 | 17.36 | 96.11
10 | Average | 77.01 | 79.44 | 17.36 | 96.11

## Slide 6: Scatterplot:
Chart: Duty Cycle
| Day 1 | Day 2 | Day 3 | Day 4 | Day 5 | Day 6 | Day 7 | Day 8 | Day 9 | Day 10
 | 98.68 | 95.48 | 94.79 | 91.52 | 89.93 | 87.84 | 85.27 | 83.75 | 78.33 | 77.7
 | 97.29 | 96.041 | 91.45 | 91.18 | 89.09 | 87.56 | 86.875 | 82.91 | 81.94 | 79.44
 | 91.59 | 80 | 70.27 | 65.76 | 57.91 | 49.375 | 37.569 | 27.01 | 19.98 | 17.36
 | 100 | 98.47 | 98.472 | 97.77 | 97.77 | 97.77 | 97.77 | 97.77 | 97.36 | 96.11

## Slide 7: Inference:
Refrigeration Unit-3 has the lowest Duty Cycle, hence it has been the least active, while Refrigeration Unit-4 has the highest Duty Cycle, hence it has been most active.
The Duty Cycle of unit-3 can be seen dropping over given 10 days.
The Duty Cycle of unit-1 is almost constant over the given 10 days.

## Slide 8: Question 2: Set Temperature Range
(Lower threshold and Upper Threshold)

## Slide 9: Table:
Unit | Lower Threshold (Celsius) | Upper Threshold (Celsius)
1 | 1.78 | 5.84
2 | -1.25 | 5.38
3 | 0.71 | 7.51
4 | 0.37 | 5.51

## Slide 10: Inference:
Both lower and upper threshold of set temperature range are average values of minimum and maximum temperatures respectively, over 10 days.
I used (mean - one std, mean + one std) as a standard metric to calculate these thresholds.

## Slide 11: Question 3: Average Daily Energy Consumption

## Slide 12: Table:
v
Daily Average Energy Consumption | Value(KwH)
Fridge 1 | 23.72
Fridge 2 | 37.05
Fridge 3 | 19.9
Fridge 4 | 32.45

## Slide 13: Question 4: Percentage of temperature compliance

## Slide 14: Table: Ideal Range: (1-4) degree Celsius
Unit | Upper threshold (%) | Lower threshold (%)
1 | 46 | 78
2 | 34.5 | 225
3 | 87.75 | 29
4 | 37.74 | 63

## Slide 15: Inference:
Upper threshold means the deviation from the ideal upper threshold (4) in percentage.
Lower threshold means the deviation from the ideal lower threshold (1) in percentage.

## Slide 16: Thank You
All analysis has been done using Python and MS-Excel.